## notes
you-try-it-04.xlsx
ver. | 2016-07-26
Copyright 2009-2016 Brian M. Tissue, all rights reserved.
For use with:
Brian M. Tissue, Basics of Analytical Chemistry and Chemical Equilibria, (John Wiley: New York, 2013).
http://www.achem.org
Worksheets in this file
| notes | This page with background information.
| 4.A conversions | Convert measured wavelength to vacuum wavelength and energy.
| 4.B absorbance | Calculate transmittance (T), percent-transmittance (%-T), and absorbance.
| 4.C Beers-law | Use the Beer-Lambert law to find concentration from absorbance.
| 4.D fluorescence | Determine an unknown using a fluorescence calibration curve.
Background
Refer to Chapter 4 in the text for equations and explanations.
Each worksheet has instructions in the shaded box.
For answers and step-by-step help see you-try-it-04guide.pdf.

## 4.A conversions
You-Try-It 4.A |  | Wavelength to Energy Conversion
Tables 4.A.1 and 4.A.2 list spectroscopic transitions of neutral Na and K.
The first column gives a relative intensity for each transition (not needed for our calculation).
The second column gives the wavelength as measured in air (Å=10−10 m).
Columns H and I give accepted energy levels that appear to match the measured wavelengths.
The energy levels are the best fit from multiple measurements and converted to vacuum energies.
Convert the wavelengths measured in air to vacuum wavelengths to confirm that they correspond to
transitions between the listed levels. The refractive index of air is given in cell G19.
1. | Convert the wavelengths measured in air to wavelength in vacuum.
2. | Convert the vacuum wavelength to energy in cm−1.
conversions/constants: |  | Å/m | Å/cm | cvac (m/s) | n (air) | cair (m/s)
|  | 10000000000 | 100000000 | 299792458 | 1.0003 | 299704644.5391
Table 4.A.1
Persistent Lines of Neutral Sodium ( Na I )
| λ (air) | Frequency | λ (vac) | E (meas) | E (theor) | Energy Levels (cm−1)
Intensity | (Å) | (s−1) | (Å) | (cm−1) | (cm−1) | lower | upper
5 | 2852.81 |  |  |  |  | 0 | 35042.85
2 | 2853.01 |  |  |  |  | 0 | 35040.38
15 | 3302.37 |  |  |  |  | 0 | 30272.58
8 | 3302.98 |  |  |  |  | 0 | 30266.99
1000 | 5889.95 |  |  |  |  | 0 | 16973.368
500 | 5895.924 |  |  |  |  | 0 | 16956.172
Table 4.A.2
Persistent Lines of Neutral Potassium ( K I )
| λ (air) | Frequency | λ (vac) | E (meas) | E (theor) | Energy Levels (cm−1)
Intensity | (Å) | (s−1) | (Å) | (cm−1) | (cm−1) | lower | upper
700 | 4044.14 |  |  |  |  | 0 | 24720.139
700 | 4047.21 |  |  |  |  | 0 | 24701.382
1000 | 7664.8991 |  |  |  |  | 0 | 13042.876
1000 | 7698.9645 |  |  |  |  | 0 | 12985.17
700 | 11690.21 |  |  |  |  | 12985.17 | 21536.988
600 | 11769.62 |  |  |  |  | 13042.876 | 21536.988
700 | 11772.83 |  |  |  |  | 13042.876 | 21534.68
Data from:
J.E. Sansonetti, W.C. Martin, and S.L. Young (2005),
Handbook of Basic Atomic Spectroscopic Data (version 1.1.2).
[Online] Available: http://physics.nist.gov/Handbook [2009, June 3].
National Institute of Standards and Technology, Gaithersburg, MD

## 4.B absorbance
You-Try-It 4.B | Absorbance, Transmittance, and Percent Transmittance
Table 4.B.1 gives data collected with a homemade colorimeter to measure Cu2+ in pool water.
(Copper is sometimes used as an algicide, but at high concentrations it can turn blond hair greenish.)
The colorimeter consists of a blue LED source and a light sensor mounted in a box.
An opening in the box allows positioning a test tube in the light path.
Given that the optical arrangement does not change, the lux measurements are comparable to light power.
The added reagent creates a colored complex that absorbs at the wavelength of the LED.
Reagent addition (5 drops) does not cause a measurable change in the solution volume.
A copper concentration of 1.0 ppm is known to produce an absorbance of 0.727 using this procedure.
1. Calculate T, %-T, and A for the light measurements.
2. Calculate the copper concentration in the pool water given the calibration data above.
Table 4.B.2 lists repetitive measurements of the pool water (the blank).
3. Use the data in Table 4.B.2 to predict the LOD and LOQ for this method.
Table 4.B.1
sample | measurement (lux)
nothing in the light path | 450
test tube of pool water | 399
pool water + reagent | 211
Table 4.B.2 (pool water only)
trial | measurement (lux)
1 | 399
2 | 389
3 | 406
4 | 394

## 4.C Beers-law
You-Try-It 4.C |  | Beer-Lambert Law
The data in Table 4.C.1 are absorbance vs wavelength for a standard riboflavin solution.
The data in Table 4.C.2 are absorbance vs wavelength for an unknown solution.
Both data sets were made with identical instrument settings.
1. Insert a scatter chart to plot both data sets and adjust axes and formatting.
2. Determine the maximum absorbance values for the peaks near 260 and 450 nm.
Calculate the molar absorptivity for each peak wavelength.
3. Determine the concentration of the unknown solution.
Table 4.C.1 Standard Solution |  |  | Table 4.C.2 Unknown Solution
analyte | riboflavin |  | analyte | riboflavin
solvent | ethanol |  | solvent | ethanol
b (cm) | 1 |  | b (cm) | 1
cstd (M) | 2e-05 |  | cunk | ?
λ (nm) | A |  | λ (nm) | A
219 | 0.8475 |  | 219 | 0.24185
220 | 0.8662 |  | 220 | 0.23481
221 | 0.8623 |  | 221 | 0.22687
222 | 0.832 |  | 222 | 0.22275
223 | 0.78691 |  | 223 | 0.21076
224 | 0.73673 |  | 224 | 0.19741
225 | 0.68823 |  | 225 | 0.18451
226 | 0.64182 |  | 226 | 0.173
227 | 0.59793 |  | 227 | 0.15708
228 | 0.55908 |  | 228 | 0.146
229 | 0.52567 |  | 229 | 0.13529
230 | 0.49848 |  | 230 | 0.12608
231 | 0.47676 |  | 231 | 0.1316
232 | 0.45906 |  | 232 | 0.12342
233 | 0.44504 |  | 233 | 0.12001
234 | 0.4346 |  | 234 | 0.1279
235 | 0.42803 |  | 235 | 0.11105
236 | 0.42545 |  | 236 | 0.11593
237 | 0.42625 |  | 237 | 0.11273
238 | 0.43042 |  | 238 | 0.11847
239 | 0.4376 |  | 239 | 0.12345
240 | 0.4468 |  | 240 | 0.12687
241 | 0.45743 |  | 241 | 0.13092
242 | 0.46907 |  | 242 | 0.12147
243 | 0.48106 |  | 243 | 0.12485
244 | 0.49338 |  | 244 | 0.13493
245 | 0.50695 |  | 245 | 0.13026
246 | 0.5209 |  | 246 | 0.14229
247 | 0.53486 |  | 247 | 0.15001
248 | 0.54778 |  | 248 | 0.15531
249 | 0.55969 |  | 249 | 0.15923
250 | 0.57031 |  | 250 | 0.15128
251 | 0.57987 |  | 251 | 0.15403
252 | 0.58831 |  | 252 | 0.15429
253 | 0.59768 |  | 253 | 0.16054
254 | 0.6083 |  | 254 | 0.16432
255 | 0.6209 |  | 255 | 0.17198
256 | 0.63554 |  | 256 | 0.17581
257 | 0.65137 |  | 257 | 0.18389
258 | 0.66731 |  | 258 | 0.18529
259 | 0.6819 |  | 259 | 0.18058
260 | 0.69402 |  | 260 | 0.19034
261 | 0.70297 |  | 261 | 0.19329
262 | 0.70859 |  | 262 | 0.18463
263 | 0.70949 |  | 263 | 0.19157
264 | 0.70417 |  | 264 | 0.18824
265 | 0.69198 |  | 265 | 0.176
266 | 0.67335 |  | 266 | 0.18065
267 | 0.65087 |  | 267 | 0.18058
268 | 0.62691 |  | 268 | 0.16673
269 | 0.60279 |  | 269 | 0.16446
270 | 0.57854 |  | 270 | 0.15484
271 | 0.55372 |  | 271 | 0.15778
272 | 0.52658 |  | 272 | 0.14085
273 | 0.49694 |  | 273 | 0.13264
274 | 0.46597 |  | 274 | 0.12518
275 | 0.43438 |  | 275 | 0.12437
276 | 0.40314 |  | 276 | 0.11728
277 | 0.37265 |  | 277 | 0.10838
278 | 0.34367 |  | 278 | 0.10332
279 | 0.31541 |  | 279 | 0.086632
280 | 0.28759 |  | 280 | 0.073893
281 | 0.26069 |  | 281 | 0.074592
282 | 0.23463 |  | 282 | 0.064038
283 | 0.20977 |  | 283 | 0.055152
284 | 0.18527 |  | 284 | 0.05796
285 | 0.1618 |  | 285 | 0.047972
286 | 0.14005 |  | 286 | 0.039227
287 | 0.12045 |  | 287 | 0.036562
288 | 0.10263 |  | 288 | 0.026333
289 | 0.08726 |  | 289 | 0.022458
290 | 0.07401 |  | 290 | 0.020172
291 | 0.06275 |  | 291 | 0.023793
292 | 0.05334 |  | 292 | 0.014874
293 | 0.04652 |  | 293 | 0.018859
294 | 0.04129 |  | 294 | 0.030649
295 | 0.03738 |  | 295 | 0.011946
296 | 0.03482 |  | 296 | 0.0089785
297 | 0.03355 |  | 297 | 0.0076894
298 | 0.03308 |  | 298 | 0.014704
299 | 0.03355 |  | 299 | 0.014656
300 | 0.03496 |  | 300 | 0.016353
301 | 0.03643 |  | 301 | 0.015814
302 | 0.03849 |  | 302 | 0.019296
303 | 0.04096 |  | 303 | 0.012581
304 | 0.04389 |  | 304 | 0.018559
305 | 0.04699 |  | 305 | 0.021243
306 | 0.05034 |  | 306 | 0.012974
307 | 0.05356 |  | 307 | 0.020657
308 | 0.05713 |  | 308 | 0.011209
309 | 0.06065 |  | 309 | 0.023461
310 | 0.06449 |  | 310 | 0.020035
311 | 0.06815 |  | 311 | 0.019456
312 | 0.07189 |  | 312 | 0.021833
313 | 0.0757 |  | 313 | 0.024409
314 | 0.07961 |  | 314 | 0.022438
315 | 0.08369 |  | 315 | 0.028572
316 | 0.08774 |  | 316 | 0.034321
317 | 0.09201 |  | 317 | 0.038402
318 | 0.09597 |  | 318 | 0.039626
319 | 0.10046 |  | 319 | 0.029687
320 | 0.10454 |  | 320 | 0.026409
321 | 0.10894 |  | 321 | 0.024163
322 | 0.11336 |  | 322 | 0.039448
323 | 0.1177 |  | 323 | 0.02939
324 | 0.12179 |  | 324 | 0.033145
325 | 0.12599 |  | 325 | 0.033165
326 | 0.12981 |  | 326 | 0.03716
327 | 0.13364 |  | 327 | 0.037584
328 | 0.13735 |  | 328 | 0.038205
329 | 0.14047 |  | 329 | 0.038913
330 | 0.14376 |  | 330 | 0.032761
331 | 0.14667 |  | 331 | 0.046397
332 | 0.1495 |  | 332 | 0.040209
333 | 0.15194 |  | 333 | 0.036655
334 | 0.15425 |  | 334 | 0.039232
335 | 0.15642 |  | 335 | 0.045044
336 | 0.15838 |  | 336 | 0.04514
337 | 0.16015 |  | 337 | 0.050516
338 | 0.16155 |  | 338 | 0.041415
339 | 0.16308 |  | 339 | 0.048766
340 | 0.16439 |  | 340 | 0.046469
341 | 0.16538 |  | 341 | 0.050178
342 | 0.16644 |  | 342 | 0.049431
343 | 0.16711 |  | 343 | 0.045723
344 | 0.16753 |  | 344 | 0.048575
345 | 0.16785 |  | 345 | 0.041628
346 | 0.168 |  | 346 | 0.043549
347 | 0.16793 |  | 347 | 0.055756
348 | 0.16777 |  | 348 | 0.043392
349 | 0.16711 |  | 349 | 0.038299
350 | 0.16617 |  | 350 | 0.044281
351 | 0.16534 |  | 351 | 0.041075
352 | 0.16461 |  | 352 | 0.052112
353 | 0.1635 |  | 353 | 0.041779
354 | 0.16233 |  | 354 | 0.045411
355 | 0.16119 |  | 355 | 0.052653
356 | 0.1602 |  | 356 | 0.042091
357 | 0.15908 |  | 357 | 0.053242
358 | 0.15843 |  | 358 | 0.048183
359 | 0.1584 |  | 359 | 0.04205
360 | 0.15853 |  | 360 | 0.048023
361 | 0.15826 |  | 361 | 0.034182
362 | 0.15872 |  | 362 | 0.042726
363 | 0.15966 |  | 363 | 0.043795
364 | 0.16044 |  | 364 | 0.042458
365 | 0.16026 |  | 365 | 0.046563
366 | 0.15834 |  | 366 | 0.046211
367 | 0.15529 |  | 367 | 0.043304
368 | 0.15247 |  | 368 | 0.04343
369 | 0.15145 |  | 369 | 0.043285
370 | 0.15156 |  | 370 | 0.043254
371 | 0.15128 |  | 371 | 0.049634
372 | 0.15038 |  | 372 | 0.046356
373 | 0.14908 |  | 373 | 0.037613
374 | 0.14784 |  | 374 | 0.040094
375 | 0.14589 |  | 375 | 0.036335
376 | 0.14395 |  | 376 | 0.043946
377 | 0.14173 |  | 377 | 0.042113
378 | 0.14004 |  | 378 | 0.045428
379 | 0.13846 |  | 379 | 0.035759
380 | 0.13675 |  | 380 | 0.04157
381 | 0.13521 |  | 381 | 0.03034
382 | 0.13334 |  | 382 | 0.048161
383 | 0.13171 |  | 383 | 0.045949
384 | 0.13028 |  | 384 | 0.028169
385 | 0.12941 |  | 385 | 0.036272
386 | 0.12838 |  | 386 | 0.041077
387 | 0.12756 |  | 387 | 0.042988
388 | 0.1266 |  | 388 | 0.039768
389 | 0.12598 |  | 389 | 0.027243
390 | 0.12506 |  | 390 | 0.033658
391 | 0.12477 |  | 391 | 0.036118
392 | 0.12459 |  | 392 | 0.04055
393 | 0.12415 |  | 393 | 0.035484
394 | 0.12365 |  | 394 | 0.035364
395 | 0.1233 |  | 395 | 0.046456
396 | 0.12342 |  | 396 | 0.032264
397 | 0.12356 |  | 397 | 0.03881
398 | 0.1236 |  | 398 | 0.045108
399 | 0.12387 |  | 399 | 0.04383
400 | 0.12356 |  | 400 | 0.034348
401 | 0.12387 |  | 401 | 0.032115
402 | 0.12428 |  | 402 | 0.035565
403 | 0.124 |  | 403 | 0.041612
404 | 0.12348 |  | 404 | 0.037226
405 | 0.12439 |  | 405 | 0.027949
406 | 0.12399 |  | 406 | 0.039354
407 | 0.12378 |  | 407 | 0.029731
408 | 0.12366 |  | 408 | 0.039564
409 | 0.12365 |  | 409 | 0.037072
410 | 0.12326 |  | 410 | 0.030595
411 | 0.12251 |  | 411 | 0.032378
412 | 0.12207 |  | 412 | 0.035705
413 | 0.12154 |  | 413 | 0.038655
414 | 0.12043 |  | 414 | 0.022898
415 | 0.11962 |  | 415 | 0.030924
416 | 0.11913 |  | 416 | 0.029425
417 | 0.11887 |  | 417 | 0.036207
418 | 0.11873 |  | 418 | 0.035816
419 | 0.11832 |  | 419 | 0.030772
420 | 0.11844 |  | 420 | 0.036174
421 | 0.1189 |  | 421 | 0.031541
422 | 0.11942 |  | 422 | 0.030111
423 | 0.11972 |  | 423 | 0.034147
424 | 0.1204 |  | 424 | 0.042845
425 | 0.1213 |  | 425 | 0.03222
426 | 0.12247 |  | 426 | 0.032785
427 | 0.12409 |  | 427 | 0.034871
428 | 0.12546 |  | 428 | 0.022884
429 | 0.12754 |  | 429 | 0.037184
430 | 0.12968 |  | 430 | 0.036704
431 | 0.13101 |  | 431 | 0.040441
432 | 0.13235 |  | 432 | 0.037773
433 | 0.13484 |  | 433 | 0.036784
434 | 0.13778 |  | 434 | 0.035976
435 | 0.13933 |  | 435 | 0.038532
436 | 0.14162 |  | 436 | 0.028446
437 | 0.14383 |  | 437 | 0.048788
438 | 0.14586 |  | 438 | 0.043024
439 | 0.14777 |  | 439 | 0.042191
440 | 0.14886 |  | 440 | 0.040737
441 | 0.1508 |  | 441 | 0.043693
442 | 0.15234 |  | 442 | 0.049163
443 | 0.1528 |  | 443 | 0.03677
444 | 0.15329 |  | 444 | 0.036917
445 | 0.15388 |  | 445 | 0.043342
446 | 0.15416 |  | 446 | 0.04788
447 | 0.15441 |  | 447 | 0.034916
448 | 0.15407 |  | 448 | 0.042125
449 | 0.15336 |  | 449 | 0.04629
450 | 0.15264 |  | 450 | 0.043714
451 | 0.15159 |  | 451 | 0.041679
452 | 0.1507 |  | 452 | 0.05126
453 | 0.14919 |  | 453 | 0.029134
454 | 0.14817 |  | 454 | 0.045241
455 | 0.14661 |  | 455 | 0.038346
456 | 0.14533 |  | 456 | 0.029722
457 | 0.1439 |  | 457 | 0.049724
458 | 0.14245 |  | 458 | 0.040867
459 | 0.14123 |  | 459 | 0.0457
460 | 0.13939 |  | 460 | 0.038696
461 | 0.13844 |  | 461 | 0.040224
462 | 0.13726 |  | 462 | 0.041709
463 | 0.13653 |  | 463 | 0.034661
464 | 0.13539 |  | 464 | 0.041677
465 | 0.13402 |  | 465 | 0.035497
466 | 0.13267 |  | 466 | 0.043807
467 | 0.13137 |  | 467 | 0.038102
468 | 0.13075 |  | 468 | 0.046029
469 | 0.12944 |  | 469 | 0.042911
470 | 0.12815 |  | 470 | 0.048442
471 | 0.12661 |  | 471 | 0.034367
472 | 0.1249 |  | 472 | 0.039124
473 | 0.12273 |  | 473 | 0.025578
474 | 0.11961 |  | 474 | 0.036874
475 | 0.11692 |  | 475 | 0.04088
476 | 0.11363 |  | 476 | 0.037538
477 | 0.1096 |  | 477 | 0.046078
478 | 0.10639 |  | 478 | 0.025983
479 | 0.10177 |  | 479 | 0.025061
480 | 0.09735 |  | 480 | 0.028158
481 | 0.09266 |  | 481 | 0.02782
482 | 0.08751 |  | 482 | 0.018022
483 | 0.08275 |  | 483 | 0.015989
484 | 0.07753 |  | 484 | 0.027411
485 | 0.07178 |  | 485 | 0.035384
486 | 0.06476 |  | 486 | 0.023081
487 | 0.05869 |  | 487 | 0.021847
488 | 0.05451 |  | 488 | 0.018197
489 | 0.05079 |  | 489 | 0.0065659
490 | 0.04668 |  | 490 | 0.018327
491 | 0.04177 |  | 491 | 0.015875
492 | 0.03771 |  | 492 | 0.013395
493 | 0.03324 |  | 493 | 0.016836
494 | 0.02958 |  | 494 | 0.012788
495 | 0.02626 |  | 495 | 0.010686
496 | 0.02278 |  | 496 | 0.01155
497 | 0.01968 |  | 497 | 0.0071279
498 | 0.01687 |  | 498 | 0.0050435
499 | 0.01483 |  | 499 | 0.0082317
500 | 0.01236 |  | 500 | 0.0085781
501 | 0.0103 |  | 501 | 0.0048119
502 | 0.00884 |  | 502 | 0.0032431
503 | 0.00734 |  | 503 | 0.0032392
504 | 0.00595 |  | 504 | 0.0079086
505 | 0.00531 |  | 505 | 0.0045496
506 | 0.00427 |  | 506 | -0.0016849
507 | 0.00343 |  | 507 | 0.00098844
508 | 0.00301 |  | 508 | 0.0017212
509 | 0.00292 |  | 509 | 0.0055888
510 | 0.00209 |  | 510 | 0.00063287
511 | 0.00194 |  | 511 | -0.0001637
512 | 0.00156 |  | 512 | 0.0084988
513 | 0.00137 |  | 513 | -0.0043169
514 | 0.00141 |  | 514 | 0.0044019
515 | 0.00173 |  | 515 | -0.0017176
516 | 0.00173 |  | 516 | 0.0028
517 | 0.00152 |  | 517 | 0.00462
518 | 0.00158 |  | 518 | 0.0016964
519 | 0.00185 |  | 519 | 0.0053922
520 | 0.00193 |  | 520 | 0.0092901
521 | 0.00217 |  | 521 | -0.0041391
522 | 0.00211 |  | 522 | 0.0030527
523 | 0.00238 |  | 523 | 0.0034857
524 | 0.00263 |  | 524 | 0.0050572
525 | 0.00262 |  | 525 | -0.0047361
526 | 0.00234 |  | 526 | 0.0079142
527 | 0.00271 |  | 527 | 0.0093026
528 | 0.00259 |  | 528 | 0.006288
529 | 0.00275 |  | 529 | 0.00045107
530 | 0.00301 |  | 530 | 0.0034716
531 | 0.00306 |  | 531 | 0.00076727
532 | 0.00291 |  | 532 | 0.0049144
533 | 0.00328 |  | 533 | 0.0075124
534 | 0.00299 |  | 534 | 0.0051436
535 | 0.00311 |  | 535 | -0.00039474
536 | 0.00302 |  | 536 | -0.0075608
537 | 0.00332 |  | 537 | 0.0061718
538 | 0.00358 |  | 538 | 0.006497
539 | 0.00351 |  | 539 | -0.0044003
540 | 0.00353 |  | 540 | 0.0036937
541 | 0.00347 |  | 541 | 0.0018233
542 | 0.0035 |  | 542 | 0.0087837
543 | 0.00349 |  | 543 | 0.0055916
544 | 0.00363 |  | 544 | 0.005561
545 | 0.00387 |  | 545 | 0.00076262
546 | 0.00342 |  | 546 | 0.003788
547 | 0.00384 |  | 547 | -0.0051742
548 | 0.00372 |  | 548 | 0.0029961
549 | 0.00361 |  | 549 | 0.0072204
550 | 0.00374 |  | 550 | 0.00091755
551 | 0.00409 |  | 551 | 0.0030041
552 | 0.00395 |  | 552 | 0.0081554
553 | 0.00398 |  | 553 | 0.0062742
554 | 0.00413 |  | 554 | -0.00066176
555 | 0.00416 |  | 555 | 0.0022434
556 | 0.0044 |  | 556 | -0.0067058
557 | 0.00396 |  | 557 | 0.00091856
558 | 0.00396 |  | 558 | 0.012722
559 | 0.00429 |  | 559 | 0.0094063
560 | 0.00461 |  | 560 | 0.0060615
561 | 0.00449 |  | 561 | 0.0011472
562 | 0.00406 |  | 562 | -0.0013889
563 | 0.00412 |  | 563 | 0.0030627
564 | 0.00472 |  | 564 | 0.00035298
565 | 0.00446 |  | 565 | 0.0042068
566 | 0.00434 |  | 566 | -0.0025241
567 | 0.00421 |  | 567 | -0.00090211
568 | 0.00414 |  | 568 | 0.0062015
569 | 0.00391 |  | 569 | -0.0018037
570 | 0.00386 |  | 570 | 0.0081071
571 | 0.00325 |  | 571 | 0.00061674
572 | 0.00292 |  | 572 | -0.0007314
573 | 0.00281 |  | 573 | 0.0033197
574 | 0.00323 |  | 574 | 0.0083017
575 | 0.00288 |  | 575 | 0.004093
576 | 0.00274 |  | 576 | 0.0044711
577 | 0.00258 |  | 577 | -0.0014169
578 | 0.00304 |  | 578 | -0.0067605
579 | 0.00195 |  | 579 | -0.00098888
580 | 0.00264 |  | 580 | 0.0011306
581 | 0.00264 |  | 581 | 0.0083012
582 | 0.00294 |  | 582 | 0.0027612
583 | 0.00147 |  | 583 | 0.00048673
584 | 0.00235 |  | 584 | 0.0094253
585 | 0.00342 |  | 585 | 0.004086
586 | 0.00274 |  | 586 | -0.0011181
587 | 0.00273 |  | 587 | 0.0033783
588 | 0.00304 |  | 588 | -0.00013246
589 | 0.00313 |  | 589 | -0.00010257
590 | 0.00362 |  | 590 | 0.0014102
591 | 0.00401 |  | 591 | -0.0026445
592 | 0.00392 |  | 592 | -0.0019211
593 | 0.00366 |  | 593 | -0.0085711
594 | 0.00336 |  | 594 | 0.013783
595 | 0.00332 |  | 595 | 0.00042577
596 | 0.0038 |  | 596 | 0.00038013
597 | 0.00389 |  | 597 | 0.0090822
598 | 0.00387 |  | 598 | 0.0034374
599 | 0.00385 |  | 599 | 0.0022528
600 | 0.00356 |  | 600 | 0.0055911
601 | 0.00353 |  | 601 | 0.0035586
602 | 0.00352 |  | 602 | 0.0063172
603 | 0.00367 |  | 603 | 0.0018602
604 | 0.0038 |  | 604 | 0.0043215
605 | 0.0037 |  | 605 | 0.017355
606 | 0.00367 |  | 606 | 0.0059319
607 | 0.00369 |  | 607 | 0.0098507
608 | 0.0038 |  | 608 | -0.0036863
609 | 0.00388 |  | 609 | 0.007572
610 | 0.00399 |  | 610 | 0.00046716
611 | 0.00393 |  | 611 | 0.00353
612 | 0.00411 |  | 612 | 0.0096612
613 | 0.00372 |  | 613 | 0.0077002
614 | 0.00381 |  | 614 | 0.0004997
615 | 0.00383 |  | 615 | 0.00078324
616 | 0.00394 |  | 616 | 0.0012974
617 | 0.00406 |  | 617 | 0.00077494
618 | 0.00434 |  | 618 | 0.0066554
619 | 0.00461 |  | 619 | 0.0025575
620 | 0.00461 |  | 620 | 0.013228
621 | 0.00462 |  | 621 | -0.0024926
622 | 0.00426 |  | 622 | 0.0044771
623 | 0.00404 |  | 623 | 0.010704
624 | 0.00358 |  | 624 | 0.00156
625 | 0.00361 |  | 625 | 0.01302
626 | 0.0042 |  | 626 | 0.0047372
627 | 0.00435 |  | 627 | 7.3233e-05
628 | 0.00476 |  | 628 | 0.0040997
629 | 0.00476 |  | 629 | 0.0038139
630 | 0.00461 |  | 630 | 0.0097127
631 | 0.00423 |  | 631 | 0.0074226
632 | 0.00351 |  | 632 | 0.0027937
633 | 0.00364 |  | 633 | 0.0032402
634 | 0.00355 |  | 634 | 0.0048587
635 | 0.00367 |  | 635 | 0.012427
636 | 0.00377 |  | 636 | 0.0081669
637 | 0.0042 |  | 637 | 0.0017719
638 | 0.00462 |  | 638 | 0.00018744
639 | 0.00498 |  | 639 | 0.0027788
640 | 0.00487 |  | 640 | -0.00089157
641 | 0.00521 |  | 641 | -0.00055198
642 | 0.00471 |  | 642 | 0.00093963
643 | 0.00462 |  | 643 | 0.018418
644 | 0.00475 |  | 644 | -0.0052734
645 | 0.00458 |  | 645 | -0.0025275
646 | 0.00475 |  | 646 | 0.0046727
647 | 0.00456 |  | 647 | -0.00084709
648 | 0.00448 |  | 648 | 0.011489
649 | 0.00418 |  | 649 | 0.005067
650 | 0.00422 |  | 650 | 0.011202
651 | 0.00443 |  | 651 | 0.0095136
652 | 0.00408 |  | 652 | -0.004201
653 | 0.0042 |  | 653 | 0.0052836
654 | 0.00475 |  | 654 | 0.0063105
655 | 0.00102 |  | 655 | 0.0021798
656 | -0.00255 |  | 656 | -0.0024392
657 | -0.00138 |  | 657 | 0.0059079
658 | 0.00111 |  | 658 | 0.00223
659 | 0.00362 |  | 659 | -0.0035495
660 | 0.00397 |  | 660 | -0.0069995
661 | 0.00387 |  | 661 | 0.0058499
662 | 0.00376 |  | 662 | 0.008174
663 | 0.00345 |  | 663 | -0.010287
664 | 0.00366 |  | 664 | -0.00036742
665 | 0.00369 |  | 665 | 0.0073099
666 | 0.00353 |  | 666 | 0.0047381
667 | 0.0034 |  | 667 | -0.0063948
668 | 0.00322 |  | 668 | 0.0023998
669 | 0.00319 |  | 669 | 0.0039603
670 | 0.00287 |  | 670 | 0.0065617
671 | 0.00284 |  | 671 | 0.0046774
672 | 0.00227 |  | 672 | 0.0043951
673 | 0.00241 |  | 673 | 0.0028328
674 | 0.0025 |  | 674 | -0.0061425
675 | 0.0025 |  | 675 | -0.0023408
676 | 0.00219 |  | 676 | 0.0087107
677 | 0.0023 |  | 677 | 0.00704
678 | 0.00187 |  | 678 | 0.0039001
679 | 0.00193 |  | 679 | 0.0039191
680 | 0.00182 |  | 680 | -4.6501e-05
681 | 0.00187 |  | 681 | -0.00022115
682 | 0.00173 |  | 682 | 0.0091664
683 | 0.0018 |  | 683 | -0.0078
684 | 0.00143 |  | 684 | 0.0029243
685 | 0.00124 |  | 685 | -0.0049918
686 | 0.00116 |  | 686 | -0.0018895
687 | 0.00132 |  | 687 | 0.0038774
688 | 0.00108 |  | 688 | -0.00094403
689 | 0.00118 |  | 689 | -0.0091862
690 | 0.00094 |  | 690 | 0.01373
691 | 0.0008 |  | 691 | 0.0079106
692 | 0.00063 |  | 692 | 0.0098677
693 | 0.00053 |  | 693 | -0.0021225
694 | 0.00075 |  | 694 | -0.00097151
695 | 0.0006 |  | 695 | 0.0036769
696 | 0.00039 |  | 696 | 0.0072392
697 | 0 |  | 697 | -0.0026941
698 | -5e-05 |  | 698 | 0.0050986
699 | 4e-05 |  | 699 | 0.006445
700 | -9e-05 |  | 700 | 0.0093634
data from: | H. Du, R.-C. A. Fuh, J. Li, A. Corkan, J. S. Lindsey,
PhotochemCAD: A computer-aided design and research tool in photochemistry,
Photochemistry and Photobiology,68, 141-142, (1998)
DOI: 10.1111/j.1751-1097.1998.tb02480.x
Program and databases available at:
http://omlc.ogi.edu/spectra/PhotochemCAD/html/du98.html

## 4.D fluorescence
You-Try-It 4.D |  | Fluorescence Data
Table 4.D.1 provides multiple measurements of riboflavin fluorescence for standards and an unknown.
All samples were measured with identical instrument settings.
The unknown solution was prepared by the following procedure:
Dissolve 1.0 g dry sample (infant formula) in 10 mL of 0.1 M HCl.
Autoclave 30 min at 122 C, cool, and neutralize to pH 6 with NaOH solution.
Adjust to pH 4.5 with dilute HCl and filter.
Dilute solution to 50.0 mL and measure fluorescence at 565 nm.
1. Determine the mean and standard deviation of all repetitive measurements.
Create a calibration curve of the fluorescence vs concentration.
2. Determine the riboflavin concentration in the unknown solution.
3. Determine the riboflavin concentration and uncertainty in the unknown dry sample.
The sample size of the dry powder was 1.080 g.
Table 4.D.1 Fluorescence Measurements
conc (ppm) | 1 | 2 | 3 | 4 | average | std dev
0 | 0.01 | 0 | 0
0.01 | 0.11 | 0.11 | 0.11
0.02 | 0.24 | 0.24 | 0.24
0.04 | 0.5 | 0.5 | 0.5
0.08 | 0.96 | 0.97 | 0.93
0.1 | 1.25 | 1.24 | 1.24
unknown | 0.75 | 0.74 | 0.77 | 0.77
Procedure adapted from:
AOAC Official Method 970.65, Riboflavin in Foods and Vitamin Preparations.